## Slide 1
Analog voltage control circuit

## Slide 2
Analog voltage control circuit
Digital signal ( 0 to 4095)
Digital-to-Analog Converter (DAC)
Analog output
()

## Slide 3
Software
Wrote control software for the Arduino with a python wrapper to allow the flow to be precisely set from the computer. Also wrote keithley functions to calibrate the voltage output and test voltage output stability.